| Promote wound healing |  | Consistent removal of staples |
| --- | --- | --- |
| Prevent pain during removal – especially burn patients |  | Prevent embedded staples in patient’s skin |
| Prevent pain after removal |  | Use should be intuitive |
| Prevent infection of the surgical site |  | Staple should be removed in one piece |
| Prevent damage to healing tissue |  | Don’t want to overlook staples |
| Minimize pulling sensation |  | Make sure skin is soft before removing staples |
| Minimize stinging during pulling |  | Don’t pull or shift the graft – burn patient |
| Remove entire staple |  | Provide storage area for removed staples |
| Don’t tear skin during removal |  | Sometimes the staples’ bails twist or are not applied straight – difficult to remove |
| Remove staples quickly |  | Reliably open the staple – first time |
| Remove staples with minimum force |  | Easy to remove staples wherever they are positioned on the skin |
| Dispose of staples without HCP having to touch staple |  | Device should securely hold the staple until disposed of |
| Easy to dispose of in sharps container or other bio-hazard container |  | I hate it when the burn patients are yelling during staple removal |
| Remove all brands of surgical skin staples |  | No metal filings or shavings should fall into the surgical site |
| Remove staples in same direction they were implanted |  | The force to actuate the device should be consistent |
| Failure mode – tried to pull staples with remover upside down |  | Remove the staple in the same path as it was inserted |
| May have to remove hundreds of staples with one device – especially for burn patients |  |  |